## Slide 1: Keith Modzelewski
1.26.2023
How Solar Works

## Slide 2: How Solar Works

## Slide 3: Solar Components
Solar Panels
Inverter
Net Meter
Monitoring Service
Solar Renewable Energy Credit (SREC)

## Slide 4: Solar Panels
What is the Panel Wattage?
What is the Warranty?
  Typically, 25 years
  Maximum degradation ≈. 5% per year
Damage resistance against 1” diameter hail at 50 mph

## Slide 5: Inverters: String Inverters vs Microinverters
https://www.solarreviews.com/blog/pros-and-cons-of-string-inverter-vs-microinverter

## Slide 6: Net Metering

## Slide 7: Net Metering

## Slide 8: System Monitoring

## Slide 9: Solar Renewable Energy Credits

## Slide 10: SREC Value
Total Value over system lifespan
$400 per SREC
Year 1-10 | Year 11-20
SREC Value between $15-$25 | SREC Value $20
1 SREC per 1,000kWh | 1 SREC per 1,000kWh

## Slide 11: Installation

## Slide 12: Installation

## Slide 13: Installation: Flat Roof

## Slide 14: Installation: Ground Mount

## Slide 15: Installation

## Slide 16: Solar Feasibility Process
Get an Electric Bill
Look at the Library on Google Earth
Design a system
Engineering Checks your structure
Permitting

## Slide 17: Questions